## Slide 1: MFC (Channel 2) & Vacuum Pump: Not working properly

## Slide 4: Temperature not maintained to 100° C

## Slide 5: Pressure Profile
Pressure drops from 0.03 mbar to atmospheric pressure (>1.xx mbar) in less than 5 seconds.

## Slide 6: Pressure reading difference between analog & digital pirani gauge

## Slide 7: Leak Test
Plastic O-rings
Metallic joints that holds the O-rings with the tube.

## Slide 8: Other things to consider…
One way purge valve.
Preview window.
Command to abort a recipe (Needs an updated one)
Vacuum pump works occasionally.